## Slide 2
Workers at DEKI Electronics in Noida, Uttar Pradesh were affected by the heat blown out by the DG set.
Not only did the sweltering employees lose enthusiasm and productivity, excessive heat was also taking a toll on their health and well-being.
In peak summers, industry employees who work around the location of the generator have to suffer these tough conditions and still be productive.
Image source: Author

## Slide 3
DG sets usually radiate heat as per the following:
Radiation from the engine, which is approximately 2% of the value of the heat content of the fuel input to the engine
Radiation from the generator, which is approximately equal to the inefficiency of the generator or 3% - 5% of the generator rated KVA (KW)
Source : “Chapter 06- Engine Cooling Systems; Emergency Diesel Generators”, USNRC HRTD
Image source: Shutterstock

## Slide 4
Within the industrial sector, mostly all factories are situated in areas where power cuts are often and they require the use of DG sets for power supply.
92 million people are estimated to be employed in the industrial sector in India, as per a study conducted by the National Commission for Enterprises in the Unorganized Sector in 2009.
PERCENTAGE OF EMPLOYEES IN THREE MAJOR SECTORS IN INDIA
PERCENTAGE OF EMPLOYEES IN DIFFERENT INDUSTRIAL SECTORS
Source : “Modified Current Weekly Status employment estimates” in The Challenge of Employment in India Report, National Commission for Enterprises in the Unorganized Sector, April 2009

## Slide 5
Image source: Shutterstock

## Slide 6
Image source: Google images

## Slide 7
Image source: Shutterstock

## Slide 8
Image source: Shutterstock

## Slide 9
Image source: Google images
From the Ancient wisdom
A principle that traces back to the Egyptian period.

## Slide 10
In the first stage, a tester prototype was created with the help of bricks to check the effectiveness of the method studied.
The technique of evaporative cooling worked positively. Certain improvements in the material and form were then thought of to maximize the cooling effect.
Image source: Author

## Slide 11
The design and size of the conical components were customised through advanced computational analysis and modern calibration techniques.
The cones were produced with the help of local potters.
Image source: Author

## Slide 12
Image source: Author
The design and size of the conical components were customised through advanced computational analysis and modern calibration techniques.
The cones were produced with the help of local potters.

## Slide 13
Hollow terracotta tubes were used for final proof of concept as they increase the surface area manifold and allow hot air to pass through. This configuration doesn’t allow air to bounce back to the DG set, which is also good for the efficiency of the DG set.
Image source: Author

## Slide 14
The thickness and the length of the material were modified with CFD analysis (computational fluid dynamics).
It was found that the average air temperature at the outlet of 1000 mm terracotta tube will be in the order of ~ 36 degree Celsius.
Image source: Author

## Slide 15
Source: “How Earthen Building Materials and Water can interact in your home and save you Money”, Traditional models and systems LLC, presented by Tim white
Source 1: P. Hewitt, 1981
Water is a polar compound. It will take the path of least resistance and move from areas of higher humidity to areas of lower humidity.
Phase-change of water from liquid/vapor results in an exchange of thermal energy.
A liquid to vapor change one kg of water at 100º C converts to 2260 kj/kg of heat (540 cal/gm) that is released to the surroundings.1

## Slide 16
Source: “How Earthen Building Materials and Water can interact in your home and save you Money”, Traditional models and systems LLC, presented by Tim white
Clay carries a negative charge and can bond with the positive pole of a water molecule - clay has Hygroscopic (water attracting) qualities.
Clay is thus capable of absorbing water in a vapor phase as well as liquid.

## Slide 17
Source: “How Earthen Building Materials and Water can interact in your home and save you Money”, Traditional models and systems LLC, presented by Tim white
A lowering of relative humidity with a rise in ambient temperature is accompanied by an increase of the internal energy of water molecules within the earth.
Inter molecular bonds of water weaken with a rise in temperature and water molecules then move to the surface in greater number.
As the surface is reached, the bonds sever as water undergoes a phase change from liquid to vapour resulting in a highly exothermic reaction. This ends up lowering the temperature of the earth.

## Slide 18
Image source: Author
The installation uses terracotta which is a biodegradable and environment-friendly material, making it a very ‘down to earth’ system.
The frame is in Stainless steel, which is long-lasting and can be reused or recycled easily.

## Slide 19
Image source: Author

## Slide 20
Image source: Author

## Slide 21
Image source: Author

## Slide 22
As compared to contemporary cooling systems, the installation does not require much energy except for the water pump system that circulates the flow of water over and over again.
By utilizing the hot air, which is the problem, we are able to accentuate the cooling effect.
Hence, there is no harmful or toxic output being produced.
Image source: Author

## Slide 23
Image source: Shutterstock
Proof of Concept
It was recorded that the hot air entering the installation was above 50 degrees Celsius at a velocity of 10m/sec. When water was pumped over the pots, it was observed that the temperature around the set up dropped down to 36 degrees Celsius while the temperature outside remained high at 42 degrees Celsius. The air flow was recorded as 4m/sec.

## Slide 24
Further research is being conducted in developing a module that is adaptable for domestic purposes as well. The goal is to design a scalable working unit for outdoor and indoor environment both, suitable for different climatic conditions. With earth there are endless possibilities to make it artistic and well crafted.
Image source: Author

## Slide 25
Certain improvements and additions are being thought of;
An automatic system to sense temperature levels in the pots which switches on the pump only when needed, hence saving water.
The use of a sensor-based dehumidifier that switches on after detecting a certain humidity level in the surrounding environment, as specified by the user.
A multi-layer water purification/circulation system.
Image source: Author

## Slide 27
THANK YOU